## ASHP Size
Your House
Design Heat loss kW | Design deg C | Room deg C
5 | -2.5 | 20.5
Your Heat Pump
Modulation factor | ASHP power rating | Min power out kW | Ambient @ min power deg C
0.3 | 5 | 1.5 | 13.6
| 9 | 2.7 | 8.08
| 11 | 3.3 | 5.32