## Sheet2 (2)
Date | Time | HP Meter | KW Used | outside | HP Set C | Pump | Room Temperature obtained |  |  |  |  | TRV Restricted |  |  |  |  | Lockshield setting TRV4
|  |  | 24hr |  | last 24hrs |  | Office | Bed 3 | Play Rm | Kitchen | Lounge | Hall | Shower | Bath | Ensuite | Conservatory | Office | Bed 3 | Play Rm | Kitchen | Lounge
Rad Panel | [6 empty] | 2 | 2 | 1 | 2 | 2 | 1&2 | towel | towel | towel | 2x2
2022-01-15 | 14:39 | 3606 |  | 4C | 50 | CP2 | 21 | 17.5 | 19 | 21 | 21 | 18.5 | low | low | low | off | 1 | 4 | 3 | 3 | 1 & 2
2022-01-16 | 14:39 | 3652 | 46 | 7C | 50 | CP2 | 21 | 18.5 | 21 | 21 | 21 | 18.5 | low | low | low | off | 1 | 6 | 4 | 3 | 1 & 2
2022-01-17 | 14:39 | 3688 | 36 | 7C | 45 | CS2 | 21 | 17.5 | 19.5 | 21 | 21 | 18.5 | low | low | low | off | 1 | 6 | 6 | 5 | 2 & 3
2022-01-18 | 14:39 | 3721 | 33 | 5C | 40 | CS2 | 20.5 | 18 | 18.5 | 20.5 | 20.5 | 18.5 | low | low | low | off | 2 | 6 | 6 | 5 | 3 & 4
2022-01-19 | 14:39 | 3753 | 32 | 8C | 40 |  | 20.5 | 18 | 19 | 20.5 | 20.5 | 18.5 | low | low | low | off | 2 | 6 | 6 | 5 | 4 & 5
2022-01-20 | 15:30 | 3786 | 33 | 4C | 40 |  | 20.5 | 16.5 | 17.5 | 19 | 20.5 | 18.5 | low | low | low | off | 2 | 6 | 6 | 6 | 5 & 6
2022-02-21 | 14:39 | 3825 | 39 | 4C | 43 |  | 19.5 | 17 | 18 | 19 | 20.5 | 18.5 | low | low | low | off | 4 | 6 | 6 | 6 | 5 & 6
2022-02-22 | 14:39 | 3863 | 38 | 6C | 43 | CS2 | 21 | 17.5 | 19 | 19 | 21 | 18.5 | low | low | low | off | 4 | 6 | 6 | 6 | 5 & 6
2022-02-23 | 14:39 | 3894 | 31 | 6C | 40 | CP2 | 21 | 18 | 19 | 20.5 | 21 | 18.5 | low | low | low | 14.5 | 5 | 6 | 6 | 6 | 5 & 6
2022-02-24 | 14:39 | 3926 | 32 | 3C | 40 | CP2 | 21 | 17 | 18 | 19.5 | 20.5 | 18 | low | low | low | 14.5 | 5 | 6 | 6 | 6 | 5 & 6
2022-02-25 | 15:44 | 3960 | 34 | 3C | 41 | CP2 | 21 | 18 | 18 | 19.5 | 20 | 18 | low | low | low | 14.5 | 5 | 6 | 6 | 6 | 5 & 6